INHERITANCE OF PROTEIN CONTENT IN PEAS. IVa. ANALYZING PROTEIN CONTENT BY

THE HALF-SEED TECHNIC

Swiecicki, W. K., Plant Experiment Station, Wiatrowo, Poland

Z. Kaczmarek, and M. Surma Institute of Plant Genetics, Poznon, Poland

Studies reported earlier (PNL 12:67-69), provided us with some information

about the mode of inheritance of protein in pea and led to several observations

essential for further studies. The necessity of analyzing the protein content

of individual seeds in order to increase the precision and effectiveness of

selection was discussed. Since, however, protein analysis is a destructive pro-

cess we attempted to apply a half-seed technic. The estimation of protein

content in one half and the possibility of getting a plant from the other

half would allow us to define the mode of inheritance of protein together

with elements of structure of yield.

Prior to conducting full-scale investigations we decided to check the

protein content estimated in a half seed with an embryo and in a half seed

without an embryo, both in comparison with the protein content of a whole

seed. Moreover, two methods of analyzing protein content (the Foss-Electric

automatic nitrogen analyzer and the standard Kjeldhal's method), were compared

for speed and precision. Both methods proved to be nearly equal with respect

to speed of analysis. However, the automatic analyzer requires a smaller

sample (0.5g) than the micro-Kjeldahl method (O.lg) and titration is automatic

in the former method.

The seeds of 20 plants of line WT 3527 were analyzed. Forty seeds from

each plant were divided into two parts, one half for estimation by the analyzer

and the other half by the micro-Kjeldahl method. From each 20 seeds 10 were

analyzed for protein as whole seeds and the remaining 10 as half seeds, some

with and some without the embryo (Table 1).

The results of analyses made by different methods are very close, both

with respect to the average protein content and to the variability of individua

samples.

The protein content in halves without embryos was lower (0.4-0.6%) than

LII halves with embryos or in whole seeds. The difference, though very slight,

was statistically significant. In order to estimate the protein content of

a whole seed on the basis of analysis of a half with and without an embryo,

it was necessary to compute a curvilinear regression. This provided a linear

correlation among the tested kinds of seeds, the degree of dependence being

defined by coefficients of correlation given in Table 2. Slight differences

PNL Volume 13 1981

RESEARCH REPORTS

2

in average protein content in halves and in whole seeds as well as the linear

nature of correlation between them suggest the possibilities of using results

of analyses of protein content in halves of seeds without embryos in genetic

and selection work.